V2202

Next Review Date Feb 2026

WILMSLOW UNITED REFORMED CHURCH

ANNUAL FIRE RISK ASSESSMENT

| Name and address of premises, and identification of the location being assessed: |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Name: Wilmslow United Reformed Church and Hall Address: Chapel Lane, Wilmslow, Cheshire SK9 1PR Location: Wilmslow |  |  |  |  |  |  |  |  |  |  |
| SECTION 1: FIRE POTENTIAL (see book – Fire Safety - An employer's guide pages 8 to 10 & 28 to 37 for more information) |  |  |  |  |  |  |  |  |  |  |
| 1) Are any of the following possible ignition sources present AND in a position/ condition likely to cause a fire? |  |  |  |  |  |  |  |  |  |  |
| Smoking areas | yes | no  |  | Naked flames | yes | No  |  | Heat from processes | yes | No  |
| Electrical distribution areas | Yes | No  |  | Gas or oil distribution areas | yes | No  |  | Potential for arson | yes | No  |
| Portable heaters | yes | No  |  | Boiler rooms | Yes | No  |  | Cooking areas | Yes | No  |
| Equipment or tools designed to get hot | yes | No  |  | Laundry areas | yes | No  |  | Others (list below) | yes | No  |
| 2) Are any of these fuel sources present AND stored in quantities / position likely to assist in the spread of a fire? |  |  |  |  |  |  |  |  |  |  |
| Paper | yes | No  |  | Petrol/diesel/oils | yes | No  |  | Heat from Processes | yes | No  |
| Combustible waste | yes | No  |  | Bottled gas | yes | No  |  | Others (list below) | yes | No  |
| Gloss paint or solvents | yes | No  |  | Flammable vapours/dusts | yes | No  |  |  |  |  |
| Wood or plastics | yes | No  |  | Non fire resistant furnishings | yes | No  |  |  |  |  |
| FIRE POTENTIAL ASSESSMENT - In your judgement, do you think this is an issue? |  |  |  |  |  |  |  |  | Yes | No  |
| If yes - record what you think needs to be done: Church and Hall no smoking policy |  |  |  |  |  |  |  |  |  |  |

| SECTION 2: PEOPLE AT RISK (see book - Fire Safety - An employer's guide pages 10,19,46,47 & 69 to 72 for more information) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3) Are people on upper floors? Church only |  |  |  |  |  |  | yes  | No |
| 4) Is there only a single staircase from which people can escape? |  |  |  |  |  |  | yes  | No |
| 5) Do people have to walk long distances to get to a safe means of escape? |  |  |  |  |  |  | yes | No  |
| 6) Are people located in dead end locations or where escape is through other occupied areas? |  |  |  |  |  |  | yes | No |
| 7) Are people located in basement areas? |  |  |  |  |  |  | yes | No  |
| 8) Are there unaccompanied visitors who may be unfamiliar with escape routes and evacuation plans? |  |  |  |  |  |  | Yes  | no |
| 9) Are there people with special needs or disabilities who may require help to enable them to escape? |  |  |  |  |  |  | Yes  | no |
| PEOPLE AT RISK ASSESSMENT - In your judgement, do you think this is an issue? |  |  |  |  |  |  | yes | No  |
| Stewards oversee evacuation Escape routes displayed in the premises. |  |  |  |  |  |  |  |  |

| SECTION 3: FIRE WARNING (see book - Fire Safety - An employer's guide pages 14 & 38 to 40 for more information) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 10) Are there parts of the premises/location where fire may not be detected immediately whilst the building is occupied? |  |  |  |  |  |  | yes | No |
| 11) Are there any areas where the warning sound would not be heard? |  |  |  |  |  |  | yes | No  |
| 12) Are there any people who would have difficulty in hearing the warning sound? |  |  |  |  |  |  | yes | No  |

| FIRE WARNING ASSESSMENT - In your judgement, do you think this is an issue? | yes | No  |
| --- | --- | --- |
| Fire alarm system fitted. |  |  |

| SECTION 4: FIRE EVACUATION (see book - Fire Safety - An employer's guide pages 19,23 to 27, 43 & 69 to 72 for more information) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 13) Approximately how many people would typically be on the premises/location at any one time? |  |  |  |  |  |  | varies |  |
| 14) List any groups of people likely to be difficult to evacuate? Elderly & infirm people some with restricted mobility attending events. |  |  |  |  |  |  | Yes  | no |
| 15) Are staff trained to assist in the evacuation of any groups identified in 14 above? |  |  |  |  |  |  | Yes  | No |
| 16) Are procedures in place for dealing with disabled persons where appropriate? |  |  |  |  |  |  | Yes | No |
| 17) Are there written procedures in place for fire evacuation? |  |  |  |  |  |  | Yes  | no |
| 18) Does everyone in the building know what to do in the event of a fire, or upon hearing the fire alarm? |  |  |  |  |  |  | Yes  | no |
| 19) Are up to date fire procedure notices on display throughout the premises/location? |  |  |  |  |  |  | Yes  | no |
| 20) Have you had or taken part in a fire evacuation exercise within the last 6 months |  |  |  |  |  |  | yes | No  |
| FIRE EVACUATION ASSESSMENT - In your judgement, do you think this is an issue? |  |  |  |  |  |  | yes | No  |
| If yes - record what you think needs to be done: Elders have been instructed on what to do. Printed cards are issued to those on duty. Fire evacuation practice outstanding. A practice was held 0n 2nd March 2025 |  |  |  |  |  |  |  |  |
| SECTION 5: MEANS OF ESCAPE (see book - Fire Safety - An employer's guide pages 15 & 41 to 57 for more information) |  |  |  |  |  |  |  |  |
| 21) Are there a sufficient number of safe escape routes available in the event of a fire? |  |  |  |  |  |  | Yes  | No |
| 22) Are emergency fire escape routes kept clear of obstructions? |  |  |  |  |  |  | Yes  | No |
| 23) Are emergency fire escape doors easily opened from the inside whilst the area is occupied? |  |  |  |  |  |  | Yes  | No |
| 24) Are emergency escape routes well lit, even in the event of a power failure? |  |  |  |  |  |  | Yes  | No |
| 25) Are emergency escape routes signed with directional signs? |  |  |  |  |  |  | yes | No |
| 26) Do fire doors close properly to provide protection in the event of a fire? |  |  |  |  |  |  | Yes  | No |
| MEANS OF ESCAPE ASSESSMENT - In your judgement, do you think that this is an issue? |  |  |  |  |  |  | yes | No  |
| SECTION 6: FIRE EQUIPMENT (see book - Fire Safety - An employer's guide pages 16 & 58 to 67 for more information) |  |  |  |  |  |  |  |  |
| 27) Are fire extinguishers available and located near to escape routes? |  |  |  |  |  |  | Yes  | no |
| 28) Are all extinguishers inspected annually by a specialist contractor? |  |  |  |  |  |  | Yes  | no |
| 29) Are all alarms, detectors and emergency lighting units serviced annually? |  |  |  |  |  |  | Yes  | no |
| 30) Are all alarms, detectors and emergency lighting units regularly tested and visually inspected? |  |  |  |  |  |  | Yes  | no |
| 31) Are the above checks recorded in a Fire Logbook or other similar documented system? |  |  |  |  |  |  | Yes | No  |
| FIRE EQUIPMENT ASSESSMENT - In your judgement, do you think this is an issue? If yes - record what you think needs to be done: |  |  |  |  |  |  | yes | No  |
| SECTION 7: INCIDENTS/OUTSTANDING REQUIREMENTS |  |  |  |  |  |  |  |  |
| 32) Do you have any outstanding requirements from Fire Officers, Insurance Surveyors or Licensing Officers? |  |  |  |  |  |  | yes | No  |
| 33) Have you any past incidents from which you can learn from? |  |  |  |  |  |  | yes | No  |
| INCIDENTS/OUTSTANDING REQUIREMENTS ASSESSMENT Does anything still need to be done? List Below: |  |  |  |  |  |  | yes | No  |

SECTION 8: FIRE AWARENESS AND TRAINING

| 34) Have you a designated Fire Warden(s) for the area being assessed? | yes | No |
| --- | --- | --- |

| 35) Have the designated Fire Warden(s) attended the 2 hour Fire Warden Training Course? (if appropriate for school ) | yes | No  |
| --- | --- | --- |

| 36) Have all staff attended a Fire Awareness Training Course? | yes | No  |
| --- | --- | --- |

| 37) Do you have records of all fire training for staff? | yes | No  |
| --- | --- | --- |

| Awareness and training is completed by holding regular practices. These are then reviewed and any lessons learnt applied. |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Detail here any issues you feel you cannot deal with without assistance & make the necessary contact: |  |  |  |  |  |  |  |  |
| For further details contact to Health & Safety Officer Date assessment was carried out: Feb 2026 |  |  |  |  |  |  |  |  |

| Section | Consent/ Leg. Int | Documents | Retention Period | Reason | Action after Retention period |
| --- | --- | --- | --- | --- | --- |
| Meetings | Leg Int | Church Meeting Minutes | 10 years from the date of the meeting | Good Practice | Archive County Archive office |
|  | Leg Int | Elders Meetings Minutes | 10 years from the date of the meeting | Good Practice | Archive County Archive office |
|  |  | Minutes of Internal Groups | 5 years from the date of the meeting | Good Practice | Archive County Archive office |
| Finance | Consent, as necessary | All financial record- invoices, bills, bank statements, paying in books | 6 years from the end of the financial year the record relates to. | Charities Act and HMRC rules | Destroy |
|  | Consent, as necessary | Payroll records including correspondence with HMRC | 6 years from the end of the financial year the record relates to. | Charities Act and HMRC rules | Destroy |
|  | Consent, as necessary | Gift Aid declarations and associated paperwork. | 6 years from the last receipt and claim. | HMRC rules | Destroy |
|  | Consent, as necessary | Legacy Information documents | 6 years after the deceased’s estate has been wound up. | In line with requirements for other financial info. | Destroy |
| * | Consent, as necessary | Church Annual Accounts and Reports | 10 years. | Good Practice | Archive |